## Slide 1
Alberto Pullia
INFN - Milano University of Milano
Department of Physics
26th AGATA Week 7-11 September, 2026 Warsaw, Poland
Digitizers (DIGI-OPT12) Status, Advancements and Production on v3.7.1

## Slide 2
DIGI-OPT12 v3.7.1 – production status
 Production yield: 90.9%
 Yield after repairs: 100%
First bunch of v3.7.1 cards delivered in March 2025
Segment cards v3.7.1 22 realized - 22 tested 9 under construction
 Core cards v3.7.1 13 realized - 11 tested 3 under construction
ADC32J44

## Slide 3
v3.7.1 cards map – ownership
Card ID | Card Type | Owner | Country
AGT25S00 | segment | INFN | Italy
AGT25S01 | segment | INFN | Italy
AGT25S02 | segment | INFN | Italy
AGT25S03 | segment | INFN | Italy
AGT25S04 | segment | INFN | Italy
AGT25S05 | segment | INFN | Italy
AGT25S06 | segment | INFN | Italy
AGT25S07 | segment | GSI | Germany
AGT25S08 | segment | GSI | Germany
AGT25S09 | segment | GSI | Germany
AGT25S10 | Segment | GSI | Germany
AGT25S11 | segment | GSI | Germany
AGT25S12 | segment | GSI | Germany
AGT25S13 | segment | GSI | Germany
AGT25S14 | segment | GSI | Germany
AGT25S15 | segment | GSI | Germany
AGT25S16 | segment | GSI | Germany
AGT25S17 | segment | IFJ PAN | Poland
AGT25S18 | segment | IFJ PAN | Poland
AGT25S19 | segment | IFJ PAN | Poland
AGT25S20 | segment | INFN | Italy
AGT25S21 | segment | INFN | Italy
Card ID | Card Type | Owner | Country
AGT25C00 | core | INFN | Italy
AGT25C01 | core | INFN | Italy
AGT25C02 | core | INFN | Italy
AGT25C03 | core | INFN | Italy
AGT25C04 | core | INFN | Italy
AGT25C05 | core | INFN | Italy
AGT25C06 | core | GSI | Germany
AGT25C07 | core | GSI | Germany
AGT25C08 | core | GSI | Germany
AGT25C09 | core | GSI | Germany
AGT25C10 | core | Uni Warsaw | Poland
Card ID | Card Type | Owner | Country
AGT26C00-02 | core - n. 3 | GANIL | France
AGT26S00-08 | segment - n. 9 | GANIL | France
Core and Segment Cards under Construction

## Slide 4
Issues in v3.7.1 cards
1.3 mm
3 mm
3 mm
All issues fixed after a thorough inspection
Components installed by mistake (AGT25S12)
Critical jumper shorts PS

## Slide 5
DIGI-OPT12 v3.7.1 – Milano test-bench for acceptance
Test-bench is based on GGP, and uses an optical link
GUI - Graphical User Interface
thanks to Stefano Capra and Dino Bazzacco

## Slide 6
Noise performance – Milano testbench – no detector
DIGI-OPT12 | Opamp | Energy Range | Noise [LSB rms] | ENOB
v3.6.x | AD8030 “standard” | 7 MeV | 2.27 | 11.03
 |  | 20 MeV | 1.43 | 11.69
 | LTC6247 | 7 MeV | 1.63 | 11.50
 |  | 20 MeV | 1.35 | 11.77
v3.7.1 | AD8030 “standard” | 7 MeV | 1.73 | 11.42
 |  | 20 MeV | 1.42 | 11.70
 | LTC6247 | 7 MeV | 1.46 | 11.66
 |  | 20 MeV | 1.35 | 11.77
Earlier generation
Latest generation
J
J
12 chs of v3.7.1 card w LTC6247 opamps

## Slide 7: Noise statistics of v3.7.1 segment cards – 7 MeV range
LSB r.m.s. | ENOB
1.15 | 12.01
1.3 | 11.83
1.45 | 11.67
1.6 | 11.53
1.75 | 11.40
Mean value
1.46 LSB r.m.s.
ENOB = 11.66
178 µV r.m.s.
Ch10 ok
Ch10 ok
Noise limit

## Slide 8: Noise statistics of v3.7.1 segment cards – 20 MeV range
LSB r.m.s. | ENOB
1.15 | 12.01
1.3 | 11.83
1.45 | 11.67
1.6 | 11.53
1.75 | 11.40
Mean value
1.35 LSB r.m.s.
ENOB = 11.77
165 µV r.m.s.
Ch10 ok
Ch10 ok
Noise limit

## Slide 9
Initialization script for v3.7.x
J
J
L
Mini-HDMI

## Slide 10
Initialization script for v3.6.x
J
J
L
Mini-HDMI

## Slide 11
Thermal images
Segment card v3.6.x
Core card v3.6.x
Core card v3.7.1
P = 1.6 W
Segment card v3.7.1
P = 8.6 W
P = 3.3 W
P = 3.4 W

## Slide 12
Summary
Production yield is currently 90.9 / 100% (22 segm. cards, 11 core cards)
Noise well below the acceptance limit of 2 LSB r.m.s. even in 7 MeV range
Noise distribution homogeneous over the full set of channels
Mini-HDMI connector for diagnostics only, should not be used in AGATA because contacts are notoriously unreliable
4 wire slow control of cards in AGATA through 40-pin press-fit connector (GGP) or JTAG (v2 Electronics) - using mini-HDMI is a technical error

## Slide 13
Noise spectral density
New generation
(v3.7.x – AD8030)
kHz
Previous generation
(v3.6.x – AD8030)
Courtesy of D. Bazzacco
without detector
no change vs offset
without detector
with detector
(1)
(2)
(3)
(4)
Offsets
(1) 127 (middle)
(2) 140
(3) 160
(1) 180
kHz