## Slide 1
News about GISELE lab
and PILGRIM mass spectrometer
Andres Lopez

## Slide 2
Content
Resonance Ionization Spectroscopy (RIS)
Dy studies at GISELE lab
MR-TOF-MS: PILGRIM commissioning

## Slide 3
l1
l2
Tunable
Pulsed 10 kHz
Time sychronization
Spatial overlapping
Broadband GHz
Narrowband MHz
[MHz]

## Slide 4
Dy spectroscopy in GISELE laser laboratory

## Slide 5
GISELE
MCP

## Slide 6
ToF Spectrum

## Slide 7
ToF Spectrum
164Dy + 163Dy +162Dy
163Dy + 162Dy +161Dy
162Dy + 161Dy +160Dy

## Slide 8
Isotopes | Current work (2025) | Prev. Work 2009 [1] | Prev. Work 2005 [2]
 | 613.8(8) | 616.3(5) | 610(20)
 | 907.6(7) | 913.2(8) | 890(20)
 | 1633.9(7) | 1635(1) | 1620(20)
 | 1898(1) | 1895(2) | 1880(20)
 | 2869(3) | 2868(9) | 
 | 4312(4) | 4300(15) | 
Isotopes | Current work (2025) | Prev. Work 2009 [1] | Prev. Work 2005 [2]
 | 613.8(8) | 616.3(5) | 610(20)
 | 907.6(7) | 913.2(8) | 890(20)
 | 1633.9(7) | 1635(1) | 1620(20)
 | 1898(1) | 1895(2) | 1880(20)
 | 2869(3) | 2868(9) | 
 | 4312(4) | 4300(15) | 
Dy results
Isotope | HF parameters | Current work 2025 | Prev. Work 2009 [1]
163Dy |  | 121.63(2) | 121.62(2)
 |  | 1848(2) | 1844.9(4)
161Dy |  | -87.06(3) | -86.90(2)
 |  | 1748(3) | 1747.4(5)
Isotope | HF parameters | Current work 2025 | Prev. Work 2009 [1]
163Dy |  | 121.63(2) | 121.62(2)
 |  | 1848(2) | 1844.9(4)
161Dy |  | -87.06(3) | -86.90(2)
 |  | 1748(3) | 1747.4(5)
Overall agreement with the
literature results
[1] N. Leefer et al. Measurement of hyperfine structure and isotope shifts in the
Dy 421-nm transition. Opt. Lett. 34, 2548-2550 (2009)
[2] C. I. Hancox. Magnetic trapping of transition-metal and rare-earth atoms usingbuffer-gas loading. Harvard Thesis, (2005).

## Slide 9
King Plot
Dy results: Combined analysis
Preliminary

## Slide 10
03/2025
07/2025
12/2025 Valentin’s talk
02/2026… coming soon

## Slide 11
Online commissioning of the MR-TOF-MS: PILGRIM

## Slide 12
MagneTOF
PILGRIM
MR-TOF MS
miniRFQ
QMF
RFQ
Cooler
Buncher
Ar: 200 - 500 mbar
S-shape RFQ
Pulse up
(~ 3 kV)
He: 10-2 - 10-3 mbar
Gas cell
RFQs
MCP 1
MCP 2
MCP 3
MCPinj
50.0% (0 laps)
50.5% (1000 laps)
100%
100%
100%
81%
SEASON
S3-LEB
S3 beam
Laser system
l2
l1
+
+
+

## Slide 13
MR-TOF-MS: PILGRIM

## Slide 14
Data visualisation
@ S. Pineda, A.F. Lopez-Loaiza, M. Brun

## Slide 15
PDT voltage scan
860 – 1220 V
10s per volt
1116 V

## Slide 16
Resolving power
Same FWHM shoothing through and Trapping 1000 laps
Thermo-ionic source: 133Cs
ms

## Slide 17
Mirror Sensitivity
Mirrors | 
M1 | 0.34
M2 | 0.54
M3 | -3.54
M4 | -2.24
M5 | -0.34
LENTM | 0.35
Mirrors | 
M1 | 0.34
M2 | 0.54
M3 | -3.54
M4 | -2.24
M5 | -0.34
LENTM | 0.35

## Slide 18
Perspectives
Off-line studies will be resumed on stable Gd at GISELE lab.
Laser transport from ALTISA to S3-LEB in the following weeks.
Continuation of the complete characterization of PILGRIM.
Laser spectroscopy studies in-gas-jet will be conducted.

## Slide 19: The end Thanks!

## Slide 20
Gas cell
Broadening effects
Broadband laser (GHz)
Extraction time ~500 ms
de Laval Nozzle
Hypersonic gas jet : ρ ↘︎ T ↘︎
Narrowband laser (MHz)
Proof of principal @ LISOL
Ar buffer gas at 100-500 mbar
Stopping, thermalization
and neutralization
Supersonic jet
Extraction by gas flow only
Gas cell laser probing
Gas jet laser probing
Thin window
l1
l2
MeV/u
+
+
+
R. Ferrer, Nat. Comm. 8 (2017)
+
Ion collector

## Slide 23
Trapping duration calibration
Thermo-ionic source: 133Cs
ms