## Slide 1: Superconducting Array for Low-Energy Radiation (SALER)
Driss GUILLET
for the SALER collaboration
LPC Caen

## Slide 2: I. Introduction and Motivations

## Slide 3: Beta decay to probe BSM physics
Artwork by Sandbox Studio
Standard Model provides the most robust predictions to date

## Slide 4: Beta decay to probe BSM physics
Artwork by Sandbox Studio
Standard Model provides the most robust predictions to date
Weak interactions studies are especially interesting for BSM searches

## Slide 5: Beta decay to probe BSM physics
Standard Model provides the most robust predictions to date
Weak interactions studies are especially interesting for BSM searches
Beta decay is competitive, with several probes for high precision measurements
Artwork by Sandbox Studio

## Slide 6: Probing CKM matrix unitarity
Study beta decay spectra to test CKM matrix unitarity

## Slide 7: Probing CKM matrix unitarity
Study beta decay spectra to test CKM matrix unitarity

## Slide 8: Probing CKM matrix unitarity
Study beta decay spectra to test CKM matrix unitarity
Largest element in the row : Vud

## Slide 9: Probing CKM matrix unitarity
Study beta decay spectra to test CKM matrix unitarity
Largest element in the row : Vud
1σ deviation from unitarity
Adam Falkowski, Martín González-Alonso and Oscar Naviliat-Cuncicc, 2021

## Slide 10: Why recoil spectroscopy ?
How to access Vud using beta decay ?

## Slide 11: Why recoil spectroscopy ?
How to access Vud using beta decay ?
Obtain Vud through the mixing ratio for mirror decays

## Slide 12: Why recoil spectroscopy ?
How to access Vud using beta decay ?
Obtain Vud through the mixing ratio for mirror decays
Then use mixing ratio to get α the angular correlation parameter

## Slide 13: Why recoil spectroscopy ?
ϐ
𝑣
AX
ϐ
𝑣
AX
α<0
α>0
How to access Vud using beta decay ?
Obtain Vud through the mixing ratio for mirror decays
Then use mixing ratio to get α the angular correlation parameter
Recoil spectrum sensitive to α  recoil spectroscopy

## Slide 14: Why recoil spectroscopy ?
eV-scale spectrum
ϐ
𝑣
AX
𝑣
AX
How to access Vud using beta decay ?
Obtain Vud through the mixing ratio for mirror decays
Then use mixing ratio to get α the angular correlation parameter
Recoil spectrum sensitive to α  recoil spectroscopy
ϐ
α<0
α>0

## Slide 15: II. Superconducting Tunnel Junctions

## Slide 16: Superconducting Tunnel Junctions (STJ)
Josephson Junction with multi layers

## Slide 17: Superconducting Tunnel Junctions (STJ)
Josephson Junction with multi layers

## Slide 18: Superconducting Tunnel Junctions (STJ)
Josephson Junction with multi layers

## Slide 19: Superconducting Tunnel Junctions (STJ)
Josephson Junction with multi layers

## Slide 20: Superconducting Tunnel Junctions (STJ)
Josephson Junction with multi layers
Current in the biased barrier → recompose the momentum

## Slide 21: Superconducting Tunnel Junctions (STJ)
Josephson Junction with multi layers
Current in the biased barrier → recompose the momentum
eV scale resolution
> 103 counts/s per pixel
Low threshold

## Slide 22: Superconducting Tunnel Junctions
Cooled to 40 mK (ADR)
128-pixel STJ
Josephson Junction with multi layers
Current in the biased barrier → recompose the momentum
eV scale resolution
> 103 counts/s per pixel
Low threshold

## Slide 23: BeEST experiment
BeEST experiment used 7Be (T1/2= 53 days) to search for keV-scale sterile neutrinos, with competitive results

## Slide 24: BeEST experiment
BeEST experiment used 7Be (T1/2= 53 days) to search for keV-scale sterile neutrinos, with competitive results

## Slide 25: BeEST experiment
BeEST experiment used 7Be (T1/2= 53 days) to search for keV-scale sterile neutrinos, with competitive results

## Slide 26: BeEST experiment
BeEST experiment used 7Be (T1/2= 53 days) to search for keV-scale sterile neutrinos, with competitive results

## Slide 27: How to use short-lived nuclei ?
Use STJs with short lived nuclei for nuclear recoil spectroscopy

## Slide 28: How to use short-lived nuclei ?
Use STJs with short lived nuclei for nuclear recoil spectroscopy
Couple STJs detectors to a beamline (on-line)

## Slide 29: How to use short-lived nuclei ?
Use STJs with short lived nuclei for nuclear recoil spectroscopy
Couple STJs detectors to a beamline (on-line)
Aim of the SALER experiment based at FRIB

## Slide 30: How to use short-lived nuclei ?
Use STJs with short lived nuclei for nuclear recoil spectroscopy
Couple STJs detectors to a beamline (on-line)
Aim of the SALER experiment based at FRIB
With mirror decays for ρ : 11C and 19Ne

## Slide 31: III. SALER Set up

## Slide 32: SALER Experiment

## Slide 33: SALER Experiment
Stable beam commissionning in April/May !

## Slide 34: SALER Experiment
Dress rehearsal /testing calibration procedure last week !

## Slide 35: Unshielded device

## Slide 36: Unshielded device

## Slide 37: Unshielded device
STJ
Laser fiber

## Slide 38: Shielding

## Slide 39: Shielding
50K
4K
4K

## Slide 40: Shielding
50K
4K
4K

## Slide 41: Shielding
50K
4K
4K
Window IR

## Slide 42: Assembling
With the 4K shield

## Slide 43: Assembling
With the 4K shield
With the 50K shield

## Slide 44: Laser calibration
262 nm laser – 4.7 eV

## Slide 45: Laser calibration
Spectrum for one pixel
262 nm laser – 4.7 eV

## Slide 46: Laser calibration
Spectrum for one pixel
262 nm laser – 4.7 eV
1 photon

## Slide 47: Laser calibration
262 nm laser – 4.7 eV
Spectrum for one pixel
2 photons
1 photon

## Slide 48: Laser calibration
262 nm laser – 4.7 eV
Spectrum for one pixel
Best one : 1.25 eV FWHM !
2 photons
1 photon

## Slide 49: Conclusion and outlook
STJs able to perform at 1 - 4 eV resolution in the range of interest

## Slide 50: Conclusion and outlook
STJs able to perform at 1 - 4 eV resolution in the range of interest
Stable beam in May, radioactive beam in late 2026

## Slide 51: Conclusion and outlook
STJs able to perform at 1 - 4 eV resolution in the range of interest
Stable beam in May, radioactive beam in late 2026
Study electron scattering background for uncertainty budget

## Slide 52: Conclusion and outlook
STJs able to perform at 1 - 4 eV resolution in the range of interest
Stable beam in May, radioactive beam in late 2026
Study electron scattering background for uncertainty budget
Pave the way for ASGARD (at DESIR)

## Slide 53: Collaboration

## Slide 54: Thanks for listening !

## Slide 55: Back-up

## Slide 56: Superconducting Tunnel Junctions
Five layers detector : absorber, trapping layer, biased insulator, trapping layer and final layer
Onset of superconductivity : formation of Cooper pairs

## Slide 57: Superconducting Tunnel Junctions
Five layers detector : absorber, trapping layer, biased insulator, trapping layer and final layer
Onset of superconductivity : formation of Cooper pairs
Recoil breaks Cooper pairs and create a quasiparticle in the absorber
Quasiparticles scatter down into the trapping layers, breaking other pairs in the process

## Slide 58: Superconducting Tunnel Junctions
Five layers detector : absorber, trapping layer, biased insulator, trapping layer and final layer
Onset of superconductivity : formation of Cooper pairs
Recoil breaks Cooper pairs and create a quasiparticle in the absorber
Quasiparticles scatter down into the trapping layers, breaking other pairs in the process
Measuring the tunneling current to recompose the momentum of the nucleus

## Slide 59: About BeEST results

## Slide 60: Stastical Uncertainties (from Andrew Marino’s poster)

## Slide 61: Beta decay spectrum
Integrate the angles

## Slide 62: Beta decay to probe BSM physics
High precision measurements at low-energies  explore TeV-scale physics
In the search of exotic currents for the Standard Model, beta decay is competitive with LHC

## Slide 63: Extension of SM Lagrangian (V.Dumenil)
ϵi correspond to Right, Scalar, Pseudo-scalar
and Tensor contribution respectively

## Slide 64: Effects on the recoil spectrum

## Slide 65: ASGARD

## Slide 66: What about fierz interference term ?

## Slide 67: Material effects

## Slide 68: The importance of background

## Slide 69: Elastic cross-section studies

## Slide 70: STJs for SALER

## Slide 71: STJs for SALER

## Slide 72: Electronic pickup
20 kHz noise

## Slide 73: Additional photos

## Slide 74: Laser calibration

## Slide 75: Additional laser photos

## Slide 76: STJs masks