## Slide 1: MP Hadronthérapie
Hodoscope faisceau DIAMANT

## Slide 2: R&D détecteurs DIAMANT – collaboration IN2P3
ML Gallin-Martel, Y. Arnoud, A. Bes, T. Bettio, J. Collot, D. Dauvergne, R. Delorme,
L. Gallin-Martel, L. Gesson, O. Guillaudin, C. Hoarau, A. Lacoste, E. Lagorio, J. Livingstone, S. Marcatili, M. Marton, JF Muraz, N. Ponchant, F. Rarbi, M. Reynaud, O. Rossetto, J. Waquet
A. Guertin, F. Haddad, R. Jbara, C. Koumeir,
V. Métivier, F. Poirier, N. Servagent
P. Barberet, J. Jouve, S. Sorieul
Ph. Laniece, Q. Mouchard, AM Leite, Y. Zhu
DIAMANT
Lyon, 19 octobre 2022

## Slide 3: Master Projet DIAMANT

## Slide 4: R&D détecteurs DIAMANT – collaboration hors IN2P3 - RH
DIAMANT
Lyon, 19 octobre 2022
JF Adam, R. Serduc, S. Keshmiri
F. Vianna Legros
L. Abbassi, T. Crozes, F. Donatini, E. Gheeraert,
D. Eon, J. F. Motte, J. Pernot
J. Bousquet, E. Corne, J. Letellier, D. Nusimovici. K. Driche
F. Lafont, P. Everaere, TN. Tran – Thi
J. Herault, JP. Hofverberg, D. Maneval, R. Trimaud
S. Koizumi, H. Nishiguchi,
T. Shimaoka, H. Umezawa

## Slide 5: Activités scientifiques DIAMANT
Evaluation des performances des détecteurs sous faisceaux
Métallisation diamant, assemblage de détecteurs
Développements en électronique
QDC
Préamplificateurs rapides et TDC
Croissance diamant CVD
eBIC et ToF eBIC Institut Néel
Objectifs du master projet : le développement de détecteurs innovants en technologie diamant :
Croissance diamant + implantation d’ions + développements en électronique (fast preamplifier, QDC, TDC, ASIC et discrète) + assemblage détecteurs + accès aux facilités d’irradiation
Electronique FE discrète & ASIC (CMOS 65 +130 nm) + système ACQ
Métallisation pleine
ou par pistes
NIMS –AIST
Institut Néel
LSPM-DiamFab
LPSC
LP2I B
SUBATECH
GIP ARRONAX NANOFAB Néel
KEK
LPSC croissance pCVD
LPSC
XBIC et ToF XBIC ESRF BM05
Simulation
Valorisation
IDSYNCHRO
DIAMMONI
Membrane AIFIRA
…
LPSC LP2I B SUBATECH
GIP ARRONAX
Caractérisation
LPSC
LP2I Bordeaux
IBIC
SUBATECH ARRONAX
AIFIRA (LP2I Bordeaux)
IJClab
+ MIRCOM – IRSN
+ ESRF-BM05 + ILL
+ CAL + CNAO + ACHADE
Production d’objets
Volumes actifs
Moniteurs faisceaux (diagnostic faisceaux sur accélérateurs de recherche ou médical)
Logiciels de simulation

## Slide 6
Monitoring low energy ion beam (ALTO)
Coll. LPSC IP2I Lyon IJC lab via PICTURE (MP Diamant & BioALTO)
4 diamonds (2x2x0.1mm3) placed in the halo of the beam for irradiation monitoring (beam energy) and beam alignment.
Pulsed proton beam monitoring – application to Flash Therapy (ARRONAX)
R&T DIAMTECH / ANR – DIAMMONI Coll. LPSC SUBATECH ARRONAX (R. Molle PhD thesis)
Current integration (dynamic=105)
Train Counting => Time stamps ~3 ns
Bunch Counting
Micro-Xrays beam monitoring application to Microbeam Radiation Therapy (ESRF)
R&T DIAMTECH / IDSYNCHRO / PAIR TUMC - Coll. LPSC – STROBE (Inserm) (N. Rosuel + T. Bettio PhD thesis)
Current integration (dynamic=106)
Integration from 10 ms up to 100 ms
DIAMOND – Beam monitoring @IN2P3 and for medical application : various specification lists!
138 QDC channels : 20 ASIC + 8 Diamonds in 1 row
DIAMMONI
DéFI DiaMs
QDC : Train counting
4 sCVD +1 sCVD diamond
Fast preamp + 500 MHz ADC : Bunch counting
Proton beam monitoring in hadrontherapy (CAL)
Coll. Clarys UFT / Coll. ClaRyS - LabEx PRIMES (S. Curtoni + P. Everaere PhD thesis)
Single particle tagging, up to 108 counts/s
XY spatial resolution ~1 mm Beam monitor to set up treatment plan
Time resolution ~100 ps
40 preamps + DFC + TDC 4 diamond sCVD in mosaic or 1 pCVD
Micro - ion beam monitoring (LP2I Bordeaux/AIFIRA - IRSN/ MIRCOM)
Coll. LPSC Institut Néel-Grenoble LP2I-Bordeaux IRSN (C. Léonhart PhD thesis)
To be crossed by protons with energy up to 4 MeV, alpha particles up 6 MeV and B, C, O, … ions up to 8 - 10 MeV.
Diamond deep etching => diamond membrane of ~1 µm (Néel)
Integration on the µ-beam line = extraction window
∆E-E monolithic detector Coll. LPSC - Néel (C. Léonhart PhD thesis)
P++ and P- layers
Epitaxic on sCVD substrate
Master projet @ IN2P3 DIAMANT
Hadrontherapy
FLASH
Targeted
radiotherapy
Nuclear
Physics
5 moniteurs faisceaux
2 volumes actifs sCVD
1 Membrane sCVD
1 Membrane pCVD

## Slide 7
Principe de l’hodoscope
Prompt Gamma Imaging
Prompt Gamma Peak Integral
Prompt Gamma Time Imaging
In vivo monitoring from the use of secondary emissions
Improvement of treatment planning
Beam tagging hodoscope development
7
Objectifs hodoscope faisceau diamant

## Slide 8
Diamond as beam tagging monitors
LPSC Hodoscope prototype 42 channels + Front End electronic (fast preamplifiers) developped at LPSC
Diamond beam monitor for hadrontherapy
1 pCVD = 4cm²
40 channels
4 sCVD = 1cm²
32 channels
Beam tagging hodosope specifications
Proton therapy (Cyclotron IBA/C230 Orsay, Dresden…):
  Bunch: 1-2 ns
  HF : 100 MHz
  200 protons/bunch
Proton therapy (Synchro-cyclotron Nice S2C2):
  Bunch: 7 ns (16 ns)
  Train: 4 µs (1 ms)
  104 protons/ micro-bunch
Carbone therapy (HIT):
  Bunch: 20-40 ns
  Bunch interval: 200 ns
  10 ions/bunch
Counting rate:
  100 MHz for the whole detector
  ~10 MHz per channel
Time resolution:
  At the level of 100 ps
Spatial resolution:
  1mm (readout strip)
Radiation hardness:
  1011 protons/cm²/treatment,
  about 20 treatments a day
  =>1014 protons/cm²/year
Beams specifications
Solid-state ionizing chamber
→ Very low leakage current
→ Low noise
→ Radiation hard
→ Fast timing
→ Room temperature
Diamond a wide-bandgap semiconductor
N. Vaissiere PhD thesis https://tel.archives-ouvertes.fr/tel-01022652

## Slide 9
DIAMOND – Beam monitoring @IN2P3 and for medical application : hodoscope DIAMANT
‘
40 preamps + DFC + TDC 4 diamond sCVD in mosaic or 1 pCVD
Proton beam monitoring in hadrontherapy (CAL)
Coll. Clarys UFT / Coll. ClaRyS - LaBeX PRIMES (P. Everaere PhD thesis)
Single particle
XY spatial resolution ~1 mm
Time resolution ~100 ps
Hadrontherapy

## Slide 10
V1
V3
V2
V3
En 2025et 2026 : refonte totale de l’électronique 1er niveau FE
Objectif 2025 : réduction du BF élec. => conception d’une nouvelle électronique de 1er niveau
Automne 2025 – printemps 2026 : tests en labo OK (émulation du signal de diamant)
Objectif 2026 : tests en faisceaux CAL / ARRONAX en protons et en alpha (26-28 Aout)
Validé en expérience avec TIARA en 2025 !
DIAMOND – Beam monitoring @IN2P3 and for medical application : hodoscope DIAMANT
‘

## Slide 11
DIAMOND – Beam monitoring @IN2P3 and for medical application : hodoscope DIAMANT
‘
En 2025 : refonte totale de l’électronique 1er niveau FE
Carte DFC
validation de la chaine complète + caractérisation en résolution temporelle, mesure d'efficacité, et capacité de comptage
2) mesure de timing gamma avec PbF2, PbWO4 et référence LaBr. Lien MP Santé Hadronthérapie
Objectif 2026

## Slide 12
DIAMOND – Beam monitoring @IN2P3 and for medical application : hodoscope DIAMANT
Validation à ARRONAX sous faisceaux d’ions Alpha 70 MeV – analyse en cours résultats préliminaires !
pCVD 4cm2
Matrice
4 sCVD 1 cm2

## Slide 13
DIAMOND – Beam monitoring @IN2P3 and for medical application : hodoscope DIAMANT
Validation à ARRONAX sous faisceaux d’ions Alpha 70 MeV – analyse en cours résultats préliminaires !

## Slide 14
4 x sCVD = 1 cm2
4 x pCVD = 16 cm2
Taille permettant de couvrir surface transverse d’un faisceau de type clinique
Avantage des pCVD : grande taille + meilleur résistance aux irradiations
Utilisation avec faisceaux de carbone (plus gros dépôts d’énergie qu’en proton) donc bonne réponse des pCVD
Objectifs : CNAO et dans le futur le C400 (lien avec MP Santé Hadronthérapie)
Thèse financée par UGA-IRGA (L. Gesson) démarrage automne 2026 pour 3 ans !
Loris Apparu diplômé PHELMA GEN démarrage au 2/11
DIAMOND – Beam monitoring @IN2P3 and for medical application : hodoscope DIAMANT
‘
Suite du projet dans DIAMANT :