## Slide 1: Workshop KEK - CC-IN2P3
KEK new Grid system
27 – 29 Oct. 2007 @ CC-IN2P3, Lyon, France
Day2 14:15 - 14:55 (40min)
Koichi Murakami, KEK/CRC

## Slide 2: Outline
Computer system on KEK/CRC
  Central Information System
  Belle Computing System
  Upgrade plans
Strategy for the migration of Grid system
List of items to be configured towards the new Grid system

## Slide 3: Computer System on KEK/CRC
“Central Computing System” as a part of “Central Information System”
  CIS provides general information services on KEK.
    mail system, web system, Indico, etc.
  CCS provides work servers, batch servers, and storage system.
  LCG system is operated.
B Factory Computer System
  dedicated to analysis of the Belle experiment
  including Grid testing servers
Supercomputer System
  Hybrid system of a vector machine (Hitachi SR11000) and a scalar system (IBM Blue Gene)
  There are also data grid activities on Lattice QCD

## Slide 4: Central Information System
KEK-2 is operated as a part of Central Information System

## Slide 5: Central Computing System (KEKCC)
Computing Servers
  Linux (RedHat ES4) cluster
  76 nodes (AMD Opteron 252 x 2), 4GB memory/node
Disk System
  45TB disk storage
HPSS Data Storage
  HPSS tape library
  maximum capacity of 320TB
Grid System
  LCG system
    KEK-2 is operated
    24 WNs, 2TB disk storage
  SRB system, AFS servers

## Slide 6: System Replacement of CI System
The current Central Information System is rental system of 3 years duration.
  2006/Feb. – 2009/Jan.
System replacement (“upgrade”) is scheduled on 2009/Feb.
  again, rental for 3 years
  We are collecting requirements for system specifications from experimental groups.
    HEP exp., Neutron exp. at J-PARC, ATLAS, ILC, Acc., Theory
Estimated amount of computing resources
  ~2,000 cores of CPU
    LSF as batch system
  ~4PB storage (~500TB as disk)
    HPSS or Storage Tek

## Slide 7: System Structure of B Computer System

## Slide 8: Overview of B Computer Resouces
 | Capability | # of racks | Electrical Power Consumption (kW)
Tape | 3.5 PB | 21 | 6
Disk | 1 PB | 13 | 60
CPU | 2280 CPU | 23 | 475
Login node | 80 node 80 TB | 8 | 70
DAQ | 100 TB | 3 | 22
633 kW in total

## Slide 9: Computing Server (CS)
CS＋WG servers(80)
= 1208 nodes = 2416CPU
= 45,662 SPEC CINT 2k rate = 5,114 kSI2K base
= 8.7THz
DELL Power Edge 1855
  Xeon3.6GHz x2, memory 1GB
Linux
  CentOS/CS, REL/WGS
1 Enclosure | = | 10 nodes, 7U space
1 rack | = | 50 nodes
25 racks | = | 4 arrays

## Slide 10: Belle Storage System – disk -
1PB, on 42 File Servers
  Nexan + ADTeX + SystemWks
SATAII 500G drive ×~2k
  ~1.8 f/day
HSM = 370TB non HSM (no backup) = 630TB
SATABeast 42dr/4U/21TB
Array Master 15dr/3U/8TB

## Slide 11: Bell Storage System – tape -
Tape Library
  3.5PB + 60 drives + 13 servers
  SAIT 500GB/volume
  30MB/s drive
  SONY SAIT-PetaSite
Work File Server Backup
  90TB + 12 drives + 3 servers
  LTO3 400GB/volume
  NetVault

## Slide 12: Upgrade plan for B Computer System
JFY April - March | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011
Computing Server | WS |  |  |  | WS+PC |  |  |  |  | PC |  |  | ? |  | 
Throughput SPECint rate2K | 100 |  |  |  | 1,250 |  |  |  |  | 42,500 |  |  | 68,000 |  | 
Speed (kSI2K) SPECint2K base | 11 |  |  |  | 140 |  |  |  |  | 4,760 |  |  | 7,600 |  | 
Disk (TB) | 4 |  |  |  | 9 |  |  |  |  | 1,000 |  |  | 1,500 |  | 
Tape (TB) | 160 |  |  |  | 620 |  |  |  |  | 3,500 |  |  |  |  | 
Work Group Server # of hosts | 3+(9) |  |  |  | 11 |  |  |  |  | 80+16FS |  |  |  |  | 
User Workstation # of hosts | 25WS+68X |  |  |  | 23WS+100PC |  |  |  |  | 128PC |  |  |  |  | 
rental for 6 years duration

## Slide 13: Status of Grid Deployment
Current Grid environments are deployed as a “fragment” of these computer system
  R&D for how to utilize Grid environment, trying distributed analysis using Grid technology
  mainly focused on applications other than LHC activities
Gradual integration of Grid environment
  Co-operation with the current (non-Grid) system is mandatory.
  accumulating knowledge for Grid operation

## Slide 14: Concerns about Grid deployment
Support for both non-Grid and Grid users
System configuration of such “hybrid” system is a key issue.
  resource management of batch servers
    job submission using LSF
  providing LFC access using SRB-DSI/HPSS-DSI with SE
  using virtualization technology (VM) for more robust and performant operation
Interoperability between NAREGI and LCG
  choice of GRID middleware
There might be one possibility of migrating two computer system in the next next system replacement (2012) as a further prospect?
  more efficient resource management in different aspects

## Slide 15: Technical stuffs toward new Grid system
Job submission via LSF on CE/WN
  sharing resources with locally submitted jobs and grid jobs
  optimization of setting parameters for practical operation
SE integration
  LFC accesses to a large scale of storage system (SRB/HPSS)
  We can access to both SRB-DSI and HPSS-DSI via GridFTP, but not use LFC.
  HSM access by using SRB-DSI and HPSS-DSI on SRM
More robust and flexible operation
  system configuration /operation using VMs
Networking/Security
  We were suffered from restrictions due to a domestic security policy!
  ((need for bureaucratic? (not technical) global security assurance mechanism.))

## Slide 16: Integration of different components
KEK-2
HPSS
Batch
SS
CS
KEK-1
NAREGI
Central Information System
B-Computing System
KEK FW
WAN
SRB-DSI
HPSS-DSI
DMZ
CE
SE
SE
Gfarm
head node
CE
SE

## Slide 17: Summary
Computer system on KEK/CRC
  Central Information System
  Belle Computing System
  Grid environments are deployed as a “fragment” of these computer system
Central Computing System will be replaced on 2009/Feb.
  Migration of Grid environment
  Support for both non-Grid and Grid access
Technical items and plans towards new Grid system