LLR MST Camera PBS proposal

| Author | Laboratory |  | Approved by | Laboratory |
| --- | --- | --- | --- | --- |
| S. Couturier |  |  |  |  |
| B. Khélifi |  |  |  |  |

| List of Abbreviations |  |  |  |
| --- | --- | --- | --- |
| PBS | Product breakdown structure |  |  |
| WBS | Work breakdown structure |  |  |

| History |  |  |
| --- | --- | --- |
| Edition | Date | Observation |
| 1 | 2011/07/04 | creation |

| Distribution |  |
| --- | --- |

- Table of Contents -

1. Introduction	2

2. Methodology	2

3. PBS proposal	3

# Introduction

This document presents a proposal of a MST camera PBS (Product Breakdown Structure).

The proposed PBS is very detailed in order to be sure that no components are forgotten.

This level of details shouldn’t be kept for the definitive PBS. We propose to stop it at the level 8.2.1.x included (white color in the excel file).

# Methodology

The method used to establish the MST camera PBS is independent of the technical candidate.

The proposed PBS is applicable to any candidate and maybe to other type of camera.

It is based on the main functions expected from a MST camera. For each function, software and hardware products (or sub-assemblies) have been associated.

| Function | PBS |
| --- | --- |
| To detect the optical signal | Photo-detection |
| To process the signal | Signal processing |
| To send data to the data acquisition server | Data acquisition |
| To support the instrumentation To be assembled in the telescope structure | Camera mechanical structure |
| To protect the instrumentation from environmental conditions (humidity, temperature, dust, light) | Environmental protection |
| To be calibrated (electronic, alignment) | Calibration systems |

Remarks:

- Some parts could be linked to several branches of the product tree. We have chosen to keep together the parts which are dependent of the same function.

For example: mechanical supports of PMT are put in “photo-detection” and not in “mechanical structure” because they are dependent of the PMT existence.

- Maintenance, integration and transport are not included in the PBS. They shall be included in the WBS (work breakdown structure).

- The calibration systems (electronic and alignment) will be mounted on the camera and on the telescope. So, they can be removed from the camera PBS and put in the MST PBS

  - in the 8.3 renamed “Calibration systems”

  - or in 8.3 “alignment and monitoring system” + 8.x “electronic calibration”

# PBS proposal