## Slide 1: CC-IN2P3 Status and News
FJPPL Meeting at CC-IN2P3

## Slide 2: New Building
June 2010
April 2011

## Slide 3: New building
The design and build procedure has been very successful
The key is the quality of the design document and the fact that the building is very technological and focused on one single objective
  Do not mix the computer room and the office space !
The budget has been perfectly kept under control
  7.5 M€
  1 M€ was foreseen for contingencies but …
    No contingencies at all
  The 1 M€ has been reinvested to upgrade the computer room
    Extra 1 MW UPS system (2 x 500 kW redundant)
    Extra 2 MVA transformer
    Extra 600 kW chiller
    Provisional equipment for a second 40 rack line

## Slide 4: New computer room
Original design
On top of the existing computer room (1 MW)
indicated power is for computing only
power for cooling has to be added
End up with:
2011
40 racks
600 kW
2015
125 racks
1.5 MW
2019
240 racks
3.2 MW
2012
80 racks
1 MW
Redundant : HV Transformer – UPS – Chiller
Will connect a second independent 20 kV power supply line in June
 No diesel generator

## Slide 5: Remarks and problems
We spent a significant amount of time to install the first line of racks
 several issues had to be fixed – Some had a significant impact on the budget
  Power Distribution Units (PDU) / Power boxes
    Special design / production from the manufacturer
  Cable routing
  Accessibility
All the issues have been taken into account to design the second rack line
Very few but annoying problems :
  Bad heater connection on the cooling system water pipes ( leak during the cold weather)
  Some problems with the UPS chains
  Perhaps some neutral / ground mis-cabling… to be investigated…
  One guy drilled a hole in a cable tray while the power was on !!!

## Slide 6: Future astroparticle projects
CC-IN2P3 is getting involved in 2 next generation large scale astroparticle projects
LSST
3.2 Gpixels CCD camera
1 picture every 15 s
15 – 30 TB / night
EUCLID
Two complementary projects for IN2P3
 To understand the dark energy puzzle
50% of the LSST data will be processed at CC-IN2P3. Second half at NCSA  full dataset in France

## Slide 7: LSST
2018 – 2019 : 2 commissioning years
Then 2020 – 2029 : “survey” years
The computing infrastructure should be available in 2018
 Mechanism to compensate computing investment by a reduction of the contribution to the common fund

## Slide 8: Toward new projects
We need to find new ways to get :
  Money
  Manpower
… and to maintain and develop CC-IN2P3 expertize
CC-IN2P3 as well as other HEP centers has a strong expertize in data processing
 Bring this expertize to new communities
We already have very good contacts with several scientific teams in the framework of the CC-IN2P3 multidisciplinary opening (< 5% of the resources)
We receive requests to host and deploy computing resources on a monthly (sometimes weekly) basis. Most of them are coming from the Life Science community

## Slide 9: “Investissements d’avenir”
Big program launched by the French government to fund innovative projects
  35 Billion € in total
  Part is directly available for investment
  Part is invested and only the interest are available
Several programs and calls for proposals
  Will certainly fully modify the research landscape in France

## Slide 10: From Grids to Clouds
Virtualization technologies and Cloud model are now changing the landscape of intensive and distributed computing
The boundary between Grid and Clouds is fuzzy, both can be seen as complementary approaches which will coexist for some time
The grid model is extremely powerful for well structured collaborations (LHC Computing is a very big success)
Out of reach of other communities
The Cloud / virtualization model is a chance to overcome (at least partly) some of these difficulties
Complex middleware – Difficulty to port applications to the Grid – Rigid hardware and software …
Grid  Virtualization  Elasticity  Cloud specific software services  …
Natural hierarchy : IaaS  PaaS  SaaS

## Slide 11: Academic cloud CAPRI
 Create a cloud infrastructure for all the future multidisciplinary projects, coherent with HEP virtualization initiatives
Close relationship with France-Grilles (French NGI) – CAPRI will become the main France-Grilles cloud infrastructure
Coherent with the EGI and LCG strategies  virtualization task forces
User-centric approach in close collaboration with specialists of data intensive applications
Work with specific communities / project  build use cases
Open the platform to other communities as soon as we have working solutions

## Slide 12: CAPRI
1st step is to create an IaaS testbed using standard cloud solutions
CPU oriented in a first step
We are currently testing several cloud software stacks  choice to be made
We received funds from the France Grilles in 2011 (75 k€)  +250 k€ in 2012
The goal is to open the prototype ~June and to demonstrate how it behaves with pilot applications
We will have to understand how it articulates with other project like HELIX Nebula

## Slide 13: CAPRI
We are investigating how to open CAPRI to industrial users at full cost
  It will extend the Regional Grid TIDRA
    Biomedical
    Image processing
“Pôles de compétitivité”
LyonBiopôle
Imaginove
This a complete change for CC-IN2P3 and we will have to handle it very carefully
  Develop innovative approach for multidisciplinary applications
  While keeping computing for HEP as a top priority
The new computer room can easily host such an academic Cloud

## Slide 14: Institute for Research and Technology
CC-IN2P3 is a partner of the IRT LyonBioTech / BioAster
  Will provide a research and development infrastructure on infectious diseases
  Strongly oriented toward industrial applications
  Budget > 800 M€ in total
  Should become economically self-sufficient within 10 years
  Aim at creating 10 000 jobs (direct and indirect)
CC-IN2P3 and a regional startup (SysFera) will be in charge to provide the IT infrastructure
  2.2 M€
  Several positions
Very complex structure to be created from scratch with many partners
Very important as it can promote CC-IN2P3 as the leading data processing center for biomedicine in France
Several kind of applications but strong orientation toward database systems

## Slide 15
Catalog of services
Data processing
Security / Confidentiality
Computing
Storage
Network
Portals
Middleware
Applications
Bioinformatics
SysFera
CC-IN2P3
Support
Support

## Slide 16: eTRIKS
CC-IN2P3 will be in charge of the cloud platform, of the database infrastructure and of part of the user support.
 Deadline is Today !
November 24th, 2011
16
European Translation Information & Knowledge Management Service Infrastructure based on the tranSMART platform
Biomedical knowledge management system within the Innovative Medicine Initiative (IMI)
  Establish correlation between multiple biomedical data
    Genome – proteome – imagery – medical data – etc…
~20 M€ project : 10 M€ from Europe – 10 M€ from the "pharmas"
 1.7 M€ for CC-IN2P3 (530 k€ in hardware – the rest in manpower)
First phase has been accepted by IMI – eTRIKS is alone for the second phase

## Slide 17: Other news / issues
Grid Engine is now deployed and in production
  Oracle version
  We experienced some problems (crash of the master server)
    Loss of all the jobs (running and queued)
  Good interaction with Oracle support
CVMFS turned to be a good solution for heavy LHC experiments' access to configuration and software files
Serious problem with our Oracle system  crash with unrecoverable loss of data !  apparently related to a bad Oracle DB behavior after a seroius hardware failure
 PILLAR storage system being exchanged
On going issue with data transfer between far remote T2 sites and some T1

## Slide 18: Budget
Hardware acquired during this period has to be replaced
Strong impact on CC-IN2P3 : No increase of the computing resources offered to the users this year
 Somewhat difficult situation