## Slide 1
CMS Pre-Staging Test
@
CC-IN2P3
F. Fassi, P. Gaillardon, N. Pukhaeva
J. Shaeffer, A. Moskalenko

## Slide 2: Overview (I)
Pre-staging/Tape test was proposed by the collaboration
The goal: measure the pre-staging time from HPSS to dCache, for data kept only on Tape
At CC-IN2P3 two tests were performed for the staging purpose:
  Based on dccp command: it consists in copying the files/dataset from HPSS to local disk, via dCache
  Base on open/close function: it consists in measuring the file staging statistics for HPSS to dCache transfers
More details and the test results from other CMS Ts1:
https://twiki.cern.ch/twiki/bin/view/CMS/T1ReprocessingCCRC08

## Slide 3: Overview (II)
A complete RECO dataset of ~10TB size was chosen:
(/CSA07Electron/CMSSW_1_6_7-CSA07-Tier0-A1-Chowder/RECO)
The dataset is kept in our HPSS
It contains “11061” files of 1GB size each
The files are distributed among 68 Tapes as follows:
    22 tapes have fewer than 10 files
    16 tapes have from 10 to 100 files
    30 tapes have more than 100 files

## Slide 4
Plan:
  All dataset files were removed from dcache
  A script based on “dccp” command was implemented
  The test was sequentially performed over the complete list
Procedure:
  The script was executed on CMS VO BO
    HPSS  dCache pools  local disk
  dCache VO BOX bandwidth is 100MB/s
    ~10 sec per file (1GB)
Pre-staging:Test-1 (I)

## Slide 5: Pre-staging:Test-1 (II)
Results:
The time required to copy 2228 files from HPSS to local disk , via dCache is:
    70 hours
The estimated time needed to copy the complete dataset
    Two weeks (Test was stopped because of these results)
More details were presented by Nelli in the CMS meeting:
    http://indico.cern.ch/conferenceDisplay.py?confId=29005

## Slide 6: Pre-staging Test-2 (I)
Plan and Procedure:
  Removed the pre-staged files from dcache
  Split the list of files to four separated lists (2765 files/list)
  Implemented some scripts to perform the test
  Submission the jobs to BQS, each one run over one list
Jobs/lists | Job_1 | Job_2 | Job_3 | Job_4
Date Start | Feb 12 14:37:54 | Feb 12 14:39:50 | Feb12 14:39:50 | Feb 12 14:39:55
Date End | Feb 13 21:20 | Feb 17 04:15 | Feb 17 00:15 | Feb 17 03:47

## Slide 7: Pre-staging Test-2 (II)
Results:
  For JOB-1 the 2765 files were already in the HPSS disk (test-1)
    To transfer 2765 files from HPSS disk to dcache disk ~35h were needed
  For Jobs-2,3,4 the pre-staging time per subset is:
    84h
  The Average staging time per file is
    140 sec, (job-1 result was excluded)

## Slide 8: CONCLUSION
The Pre-staging time per file (on tape) of 1GB size is 140 sec
The Pre-staging time could be marginally improved
  If the list of files is correctly sorted
The Staging process from tape is inherently sequential (file by file)
No errors happened during the whole process
There will be more than 3PB of disks in dCache
  No need for Pre-staging