## Slide 1: The Tianshan Radio Experiment for Neutrino Detection
a Sino-French project for the radio-detection of Extensive Air Showers induced by neutrinos.
Olivier Martineau-Huynh, NAOC & CNRS-IN2P3 – Sept.15, 2012, Lijiang – 21CMA workshop

## Slide 2: Why neutrino astronomy?
No deflection (≠ cosmic rays) and no attenuation (≠ elm radiation): great probe for astronomy & cosmology
Signature for hadronic processes: clean messengers.
After elm radiation and cosmic rays, 3rd window on the Universe…
Vast perspectives ahead.
«X-ray scanner of the Universe»
G. Gelmini et al., Scientific American 302, 2010.
n
g
cosmic
rays

## Slide 3: Cosmic neutrinos: experimental status
ICECUBE
Km3 neutrino telescopes: ANTARES-KM3NET (deep sea, France) & AMANDA – IceCube (ice, Antartica).
Sensitivity ~ high range of predictions
IAU2012: 2 candidates in 2 years of data (bckgd: 0.14)
Neutrino astronomy within reach!
But will requires larger detection potential.
Could radio detection be the solution?

## Slide 4: Radio detection of Extensive Air Showers 1- Principles & context

## Slide 5: Radio detection of UHE cosmic particles
Bgeo

e+
e-
F = qvBgeo
High energy particles generate Extensive Air Showers in the atmosphere.
Lorentz force on charged particles in the EAS by the Earth magnetic field (Kahn & Lerche, 1965): electromagnetic emission (geosynchrotron)
Coherent effect
detectable radio emission

## Slide 6: Radio detection of EAS: experimental status
Only 2 established setups (LOPES & CODALEMA)
  <30 antennas: low stat (<1000 showers)
  Slave-triggered to standards EAS detectors
Self-triggering?
Full understanding of EAS radio signal ?
~1m
Measurement of EAS direction of origin, energy, nature of primary (LOPES & CODALEMA, 2004-2010)
Well adaptated to giant arrays: easiness of deployment, stable (passive detectors), low cost (<10kRMB/unit).
The TREND prototype phase was initiated in 2008 in order to first adress these issues, with neutrino detection as the long-term perspective.

## Slide 7: Radio detection of Extensive Air Showers 2- The TREND prototype phase

## Slide 8: The TREND collaboration
China: CAS
  NAOC: Pr. WU XiangPing, DENG JianRong,
  GU JunHua, Thomas Saugrin (now in Nantes)
  IHEP: HU HongBo, LIU Zhen’An, …
France: CNRS-IN2P3
  LPNHE: Olivier Martineau-Huynh
  SUBATECH: Pascal Lautridou, Olivier Ravel, …
  LPC: Valentin Niess
  CC: Fabio Hernandez

## Slide 9: Tianshan Radio Experiment Neutrino Experiment @ Ulastai, XinJiang
Very clean radio environnement above 20MHz.
AM emitters
TREND
@ Ulastai
AM emitters
FM emitters
Nançay
RadioObservatory

## Slide 10: The 21cm array
East
West
North
South
DAQ
4 km
3 km
21CMA infrastructures, equipments and staff fully available for TREND!
Very fast deployment & very modest cost for the development phase.

## Slide 11: TREND prototype
N
250 m
100 m
400 m
800 m
2009 :
Prototype of 6 log-periodic antennas.
Test of EM signal arrival direction econstruction.
Test of EAS identification.
Proof of feasability of the TREND concept
2010 :
15 log-periodic antennas + 3 particle detectors.
independant trigger & independant analysis of antenna & scintillator data.
Hybrid antenna/scintillator coincidences found.
First EAS identification with autonomous radio array
(see Ardouin et al., Astropart Phys 34, 2011 <arXiv:1007.4359>)

## Slide 12: The TREND-50 setup
50 butterfly antennas deployed in summer 2010, making TREND the largest EAS radio-array for EAS detection in the world.
Stable operation since March 2011. 240 live days of acquisition (75% of possible time) so far. On average 80% of array up during this period.
~3 km
~1.5 km²

## Slide 13: EAS identification
Algorithm to select EAS candidates among radio events
  Time & direction distrib
  Wave front
  Ground pattern & amplitude profile
EAS signal:
Isolated events,
focused ground pattern
& plane wavefront
Shower axis

## Slide 14: EAS identification
Algorithm to select EAS candidates among radio events
  Time & direction distrib
  Wave front
  Ground pattern & amplitude profile
Background signal:
focused pattern &
spherical wavefront (close source)
Extended pattern & plane wavefront (distant source)
One TREND EAS radio-candidate

## Slide 15: TREND-50 results (preliminary)
South
East
North
104 live days analyzed. 33 EAS candidates identified with q<65°.
Significant North-South assymetry.
Bgeo
|Eew|= |v˄Bgeo |.x
Bgeo
TREND efficency map to EAS
still to be computed, but already experimental skymap distribution compatible with geosynchrotron effect |Eew|= |v˄Bgeo |. x

## Slide 16: To Do
Within coming months (weeks):
Acquire more data.
Extend analysis to larger zenith angles.
Complete analysis of remaining 140 days of data.
Refine cuts for EAS selection.
Increased statistics, down to large zenith angles (80° ?)
Perform statistical study of EAS candidates (skymap & evolution with E, lateral profile & evolution with q & E, …)
This work will complete the prototype phase of TREND and validate the concept of autonomous detection & identification of EAS with radio antennas.

## Slide 17: Neutrino detection with TREND

## Slide 18
nt
t
Chalenges:
rate of neutrino showers (~ few per year )
background rejection (~few per second)
~horizontal shower
UHE neutrino detection

## Slide 19: Background rejection
CODALEA double polar antenna
… available for TREND
Prototype setup to be installed at Ulastai:
Double polar antennas
+ vertical scintillators for CR validation
Rejection factor has to be >107.
Ground pattern/wavefront cuts hardly applicable for horizontal showers.
Key parameter could be polarization:
E  Bgeo & E  direction of propagation (at 1st order).

## Slide 20: Neutrino event rate
Giant array required (>>100km²).
Size & layout to be determined through end-to-end MC simulation. Already completed: Neutrino interaction in rock, tau energy loss, tau decay and shower generation, antenna response & trigger. Radio signal generation on the way.
En = 1018 eV
Averaged over f
TREND site topology
Flat site
Upward going
Downward going
Mountains correspond to additionnal target: flux doubles vs flat site.
Mountains also screen standard CR showers.
Mountains = very attractive sites for detection:
  Increased efficency
  Better geometry
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x
x

## Slide 21: TREND sensitivity
… How large can we go? 1’000 km²? 10’000 km²?
technical capacity: OK in principle.
Installation cost :~ few106 RMBs.
Site?
What does it cost to build the world most sensitive neutrino telescope?
Size of the array is the key parameter (provided backround rejection is OK).
TREND?

## Slide 22
25’000 km² of lowly populated mountains are within reach…
Ulastai