## Slide 1: The PPM Session ppm DOM project– Patrick Lamare REX on PPM DOM – Jan willem SCHmelling PPM DU project – sylvain henry PPM DU optical network - Jan willem SCHmelling PPM DOM calibration – Konstantin Yatkin MINI DOM – vlad popa
Sylvain Henry

## Slide 2: PPM DU: what is it?
A step in the in situ validation program of the strings
VEOC prototype in Atlantic - nov 12
PPM DOM on ANTARES IL12 - feb13
LOM qualification deployment method / PPM VEOC
/ Full length DU - apr13
PPM DU – June13 ↔October13
  Deployment with LOM
  Real VEOC/BEOC
  Power board, acoustic piezo, compass/tilt meter and nanobeacon
  PMT ETL & Hamamatsu
  Measurement of PMT single & coïncidence rates, time residuals,
  synchronisation between DOM
  No instrumentation in DU foot
  No Optical fan out module
  Obsolete generation of CLB v1
Engineering DU →2014

## Slide 3: PPM DOM

## Slide 10: PPM DOM
CLB v1
2 λ for
SC & data
Instead of 1

## Slide 11: PPM DOM Meas.

## Slide 12: PPM DOM Meas.

## Slide 13: PPM DOM Meas.

## Slide 14: PPM DOM

## Slide 15: PPM DU: Configuration
DW
Base container
Floor 6
Floor 5
Floor 4
Floor 3
Floor 2
Floor 1
Allow for a safe recovery (ROV assisted) of the DU
AC/DC converter – Off shore optical network
DOM
DOM
DOM
40m
#400m
Buoy
Requirements
Validation of the nanobeacon
Promote inter-DOM coincidences
rather than water column investigation
Length limited # ANTARES line
for safety
2 fibers /DOM
Possibly external hydrophones
Notes: CTD Conductivity Temperature Depth sensor
ADCP Acoustic Doppler Current Profiler: int and direction of sea current
CT:conductivity and temperature of the sea water
C-STAR: light attenuation of the water

## Slide 16
CLB v1
2 λ for
SC & data
Instead of 1

## Slide 18: PPM DU Planning
 | Jan13 | Feb13 | Mar13 | Apr13 | May13 | Jun13 | Jul13 | Aug13 | Sep13
Sea qualification (mech. DU) |  |  |  | xx.. |  |  |  |  | 
DOMs assembly |  | .. xx | xxxx | xxxx |  |  |  |  | 
Optical network | xxxx | xxxx | xxxx | xx |  |  |  |  | 
Anchor design |  | xxxx | xxxx | xxxx |  |  |  |  | 
Base container |  | xxxx | xxxx | xxxx |  |  |  |  | 
VEOC production | xxxx | xxxx | xx.. |  |  |  |  |  | 
DU lab. tests |  |  |  |  | xxxx |  |  |  | 
Assembly |  |  |  |  |  | xxx. |  |  | 
Deployment |  |  |  |  |  | …x | x… |  | 
Operations |  |  |  |  |  |  | xx | xxxx | xxxx

## Slide 19
+
Modify soft for 3 DOM
+
Tests & characterization of 3 DOMs
Modify ANTARES
DARK ROOM ?

## Slide 20: « PPM PMT »
miniDOM

## Slide 21: « PPM PMT »

## Slide 22: PPM DU
PPM DOM
Mini DOM
ENGINEERING DU
Fully Phase 1
nominal
2011-2013
→ 2014