## Slide 1: PPM-DOM.
40 km
SS-part
MODU-LATORS
REAM
1λ CW+1λ AC
@1.25Gbps)
2xCu
50/50
DOM
APD
2 Lasers tunable
PIN
VOA
C1
LiNbO3
Junction Box
λ4
LiNbO3
λ4
λ4
λ5
λ5
SPM
Antares DWDM crate
λ5
80/20
C2
C2
LCM
C2
ILxx
on/off
by Jan-Willem Schmelling on behalf of the optical team.

## Slide 2: Contents.
An overview of the items showed during the DOM-ReX related to optics and integration.
Optical network.
BEOC
DOM integration
General conslusions
Questions?

## Slide 3: Contents.
For more information and the detailed presentations as given during the DOM-ReX meeting on the 18th of December 2012 at Nikhef see:
http://131.188.192.25/MaKaC/conferenceDisplay.py?confId=123

## Slide 4: Optical network.
40 km
SS-part
MOD + Drivers
λ8
λ1
REAM
1λ CW+1λ AC
@1.25Gbps)
2xCu
50/50
EDFA
DOM
EDFA
APD
2 Lasers tunable
PIN
VOA
A1
on/off
C1
LiNbO3
Junction Box
λ4
D1
λ8
λ1
D4
D2
A&D
λ1
λ8
D3
λ4
λ4
λ5
λ5
SCM
Antares DWDM crate
λ5
80/20
C2
λ1
λ8
C2
LCM
A2
ILxx
14
20
λ5
20/80
6dB
LiNbO3
Downstream path (shore to DOM)
Upstream path (DOM to shore)
Time calibration: round trip

## Slide 5: Optical network.
40 km
SS-part
MOD + Drivers
λ8
λ1
REAM
1λ CW+1λ AC
@1.25Gbps)
2xCu
50/50
EDFA
DOM
EDFA
APD
2 Lasers tunable
PIN
VOA
A1
on/off
C1
LiNbO3
Junction Box
λ4
D1
λ8
λ1
D4
D2
A&D
λ1
λ8
D3
λ4
λ4
λ5
λ5
SCM
Antares DWDM crate
λ5
80/20
C2
λ1
λ8
C2
LCM
A2
ILxx
λ5
20/80
6dB
LiNbO3
Time calibration: optical pulse
> Lab test:

## Slide 6: Lab test of optical time calibration.
During lab test it has shown that the optical time calibration:
In principle works very well!
Is sensitive for reflections (for example wet mateable connectors).
Has a low average optical power (small pulse width).
Components show un-expected behavior (reflections).
A long fiber length can measure temperature very accurately. 

## Slide 7: BEOC.

## Slide 8: BEOC.
Penetrator into Optical Module 6 electrical wires (1xpower, 2xUTP)
2 fibres BendBright
Dry mateable connector to LCM 2 electrical wires (1 x power)
2 fibres BendBright
1m
1.20m
DC/DC
Dry mateable bulkhead to a satelite
4 electrical wires (2xUTP)
PBOF = Pressure Balanced Oil Filled over pressure test 60 kPa
C1
C2

## Slide 9: BEOC: Penetrator gluing of the pressure barrier
First attempt
Tight buffered fibres (SEACON standard type of fibre) are very fragile when stripped down and glued.
This is caused by scratches due to mechanical stripping of the tight buffer.
Solution: use 2 BendBright fibres.
The coating can be chemically stripped so there is minimal damage to the fibre.
2 Fibres
2 Fibres in tube

## Slide 10: Problems with breakout Box (BOB).
Close up of glue connection with “one second” glue.
Final BOB. Glued with 3M DP8010 2-component glue
Gluing of the tubes to the BOB was not easy. Both the BOB and tubes are made from polyethylene (PE). This is very hard to glue.
First attempt with primer and “one second” glue.
This failed a dry pressure test at 3 bar. Adding extra glue did not make it leak tight.
3M DP8010 2-component glue did work very good. Despite the strange appearance on the outside.

## Slide 11: The completed BEOC.

## Slide 12: BEOC connected to the DOM.

## Slide 13: BEOC: Main problems encountered
After the DOM had been closed the fast fuse inside the BEOC DC/DC converter
blew during tests. This resulted in:
  The BOB had to be drained of oil and opened.
  The fuse is now short circuited by a wire to prevent this from happening in
  the future.
Because the 400V supply from the SPM itself has a limiter, shorting of the fuse
should no problem in-situ.

## Slide 14: DOM electronics integration.
Integration of the electronics:
Various problems due to mechanical misalignment.
Power board: no problems
CLB: various mounting problems for different reasons. CLB is important ref.
FPGA: cooling major issue, problem to produce a good thermal contact.
Instrumentation: positioning /mounting needs improvement
Octopus board: sliding parts causing a short circuit.
PMT numbering: a consistent way throughout the collaboration is needed.

## Slide 15: DOM optics integration.
Integration of the optics inside the DOM:
PIN diode fiber: too close to heat shield
REAM: mounting no problem
Fiber routing inside the DOM: more support
Penetrator connection: troublesome as a result of the assembly order.
Penetrator fixed to the glass at the last possible moment, risk of damage during
handling/DOM test.

## Slide 16: Optical parts integration in LCM.
EDFA’s mounted on cooling plate, together with a part of the optics

## Slide 17: Optical parts integration in LCM.

## Slide 18: DOM integration @ CPPM.
Shore station equipment:
Build and/or bought
Shore station lasers
Shore station modulators
Shore station receiver (ordered)
Shore station receiver (build) as backup
Shore station optical timing switch crate
The shore station

## Slide 19: DOM integration @ CPPM, results.
Normal communication no problem.
Problems with optical timing calibration.
  Optical margin NOT sufficient for time calibration, receiver sensitivity low.
EDFA slow control not available (would provide more flexibility).
Shore station receiver.
The DOM is alive! 

## Slide 20: General conclusions:
Optical network is working. However little has been learned for KM3NeT phase 1.
The DOM integration was successful.
Optical time calibration needs a different/modified approach compared to the lab
as it worked in the lab setup, but not in-situ.
During DOM/BEOC assembly a lot of mechanical inconsistencies showed up.
Designs are different from KM3NeT phase-1
The mezzanine board approach works very well in a prototype manner.
The electronics are well tested but their mounting needs to be improved
Bottom line:
we have learned a lot
We have realized a lot
but……..
There’s also still a lot to be done!

## Slide 21
A more detailed overview of the PPM-DOM can be found on:
http://131.188.192.25/MaKaC/conferenceDisplay.py?confId=123

## Slide 22: The END.
Questions?