## Slide 1
CaptInnov Platform
 For new generation sensors and signal processing 
David Attié (CEA/Irfu)
on behalf of Rémi Cornat (LLR)
P2IO Scientific Council, December 17th, 2014

## Slide 2: CaptInnov Group Within P2IO
 | Bolometers |  | Photo- detectors |  | Gaseous detectors |  | Semi-conductors |  | Scintillators |  | Electronics |  | Mechanics | Vaccum | Cryogenics | Optics
 | R&D | Test | R&D | Test | R&D | Test | R&D | Test | R&D | Test | R&D | Test | R&D | Test | R&D | Test
CSNSM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
IAS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
IMNC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
IPN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
IRFU |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
LAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
LLR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
CaptInnov test platform
Created in 2010: one of the 5 technical groups
Coordinator: Rémi Cornat
One representive: in each P2IO lab (except LPT)
P2IO staff involved in CaptInnov: 193 (physicists, ingineers & technicians)
Many international collaborations: CERN, FERMILAB, SLAC, INFN, DESY, PSI, KEK, ESA….
and networks: AIDA, RD51, NUPNET, …
National collaborations: Labex Univearth, … technical platforms (PTA, Minerve), Universities
and other labs of CNRS
Strong involvement of P2IO detection teams in Physics experiments: (HL-)LHC, ILC, AGATA,
Spiral(-2), Auger, Edelweiss(-II/III), Super-B, Planck, T2K, etc.

## Slide 3: Motivations of the CaptInnov Group
Expertise for R&D project pre-evaluation before submission to selection committee
  In the field of semiconductor sensors/circuits
Develop informal relationship within the instrumentation/electronics community of P2IO labs
  Share technical information and possibly share hardware, tools, facilities…
Propose common projects, in particular concerning facilities
  High quality tools for detector & chip characterization and integration
  Best performance wrt. existing tools (CERN, Carnot network, …)
  Tools having no existence in close area institutes
Answered to P2IO call for platform proposal

## Slide 4: Examples of Potential Needs
Characterization of fine pitch, large size components is a key issue
Can concern semiconductor detector or chips, hybrids, printed circuits
R&D developments require reactivity, flexibility and home expertise
Needs are not always affordable for sub-contractors
  Large size
  High precision
  R&D cycles
APV chip for COMPASS Double row bonding
AFTER front end board (ILC TPC), 13x6 cm²
ILC – Si-W ECAL detector module : 18x18 cm, 1024 PIN
ASIC bonded within the PCB thickness
Octopuce board
2x4 matrix of Timepix chips
Sap R&D for Space Mission

## Slide 5: CaptInnov Platform
Proposal for sharing top level equipment Intended for electronics/detector integration and high precision testing
Consensus to give priorities to a probe station and a bonding machine Can be extended thanks to next calls for projects?
“Platform” concept:
equipment located in 2 sites (LAL, CEA)
free/easy access to site(s)
opened to every P2IO members, partners and external structures (fees)
Coordination by an executive committee
User support thanks to trained expert person
The platform concept comes essentially from the building of a small (engaged) user community? link with existing professional networks (IN2P3)
Executive committee
Expert
P2IO members
Partners
External users
Home site
User
User

## Slide 6: Funding of the Platform
EQUIPEX project (original):
2 – 3 M€, 4 FTE
1st call (2012)
Achievement phase (Q3’13)
Upgrade to largest dimensions 20 cm  30 cm
Capability for thermal regulation
Auto  Semi-Auto
P2IO
SESAME
LLR
P2IO
Probe station
Bonding M.
Trainings
…continued under the CaptInnov group
200 k€ from P2IO (+maintenance)
140 k€ @LLR from regional community (Ile-de-France Region)
Probe station
Emission microscope
Acoustic scanner
Bonding machine
Pick&Place machine
Buildings
Measurement Intruments
CAPTINNOV 1

## Slide 7: Initial Platform Funding Summary
Chart: Total funding: 341k€
| Bonding machine | Probe station | Chiller | Maintenance | Trainings
Budget réalisé | 90 | 142 | 89 | 8 | 8

## Slide 8: Achievements of the Project
The two machines ordered end of July’13
Bonding machine is installed in clean room at Irfu (October’13) and first training passed
New dedicated clean room (LAL) is functional
Probe station and thermal system installed at LAL (July’14)
In qualification phase
Finalizing a platform convention (management, access rules, terms of use, …) to be agreed at the P2IO level
Training of experts (2 operators @ CEA, 1 CDD @LAL) opening to the community: next year

## Slide 9: Bonding machine: DELVOTEK 5632
Universal Semi-Automatic Wire Bonder

## Slide 10: Bonding machine: DELVOTEK 5632
Semi-automated machine:
  fully programmable step mode
  pattern recognition unit (alignment)
  controlled z axis positioning
  online wire shape control (angle, tense, bending)
  manual operation allowed
  360° operations
  deep access head allow bonding in cavities or close to components
Several heads may be ordered in addition for various type of bonding:
  wedge- or ball-bonding
  gold or aluminum material
  wire or ribbon
  mechanical pull/shear tests (require additional head, not ordered)
Current configuration: wedge-bonding with aluminum wire

## Slide 11: Bonding Machine Status
3 people trained since end of September 2014
First works done
  for IAS: connection wires of CCD have been repaired (aluminum)
  for Irfu: gold bonding on flex cable for IXO cryogenic detector R&D
Need to improve experience before becoming expert
A platform agreement has been written between CEA and CNRS
1 day a week for practice
Team pending

## Slide 12: Probe Station: SIGNATONE WL350
Have chosen complete thermal system against full automation and performance (<100 fA, 100 fF levels)
Partly-automated machine: open software allows any kind of programming
Features:
  30cm workholder in a micro chamber: black box & faraday cage, triaxial connectors
  Any kind of characterization (DC, AC -50GHz, S, noise, 1/f)
  Large choice of DC & RF probes
  Wafer level tests or single die
  Probe card holder for specific probe configuration
  Micrometric resolution
  12° spin correction
  Temperature control -60° to 200°
Installed in a clean room at LAL

## Slide 13: First Pictures (Installation)
9 cm
Chuck (opened)
Probe holder
Probe
EMI enclosure
Microscope
DUT in position

## Slide 14: Probe Station Status
Microworld, provider company, will solve
  a planarity issue (<5 µm)
  the compatibility issue between compressor-thermal unit
Teams are pending the availability of the probe machine:
  LAL, IPNO, IAS, CEA and LLR for detector with pixels or strips
  but also APC
Two days of training are planning end of January and beginning of February next year

## Slide 15: CaptInnov Extras
The CaptInnov group also take care of:
Training: Some training courses possible + help of experts
Hardware pool: Will (try to) share probes and measurement hardware
Software options:
  Automation capability or user friendly control environment
  Control of external hardware in NOT included as well as acquistion
Planning of user access and maintenance operations Coordinated by dedicated experts
Forge web site : https://forge.in2p3.fr/projects/P2ioCaptinnov (internal, will be opened within few months)

## Slide 16: Conclusions
Two high quality machines have been installed
High potential for R&D, a large set of projects are already interested in:
  ATLAS pixels (vertex) and 3D electronics
  TF2 (diamond sensors)
  ILC TPC & large micromegas R&D
  Compton telescope (DSSD detector + ASICs)
  ILC ECAL (large PIN diode matrices, SoC ASICs, big production tests, …,…,….)
  …
The platform can be completed later on… Keyence Digital microscope ordered last week at Irfu
Organization, rules, access and hardware qualification are on-going
The platform should be opened to local community within ~1 yr.
Future functioning will be based on goodwill and user’s contributions

## Slide 18: Detectors studied by the labs of P2IO (1)
Calorimetry &
Trajectography
Neutron
detection
g spectroscopy
Nuclear phys
High granularity(107channels)
Large size
High B field ( 4 T)
High rate
Radiative environment
Material « budget »
Neutrinos
Single photon sensitivity
Precise timing
Digital treatment
Large size> 1 m²
Precision Mechanics
Spatial resolution < 1 mm
Good S/N
Timing
High number of channels (105)
Low background
Single photon sensitivity
Particle Id
High resolution detectors
Low noise  cooling
Digital treatment
Semiconductors
Gaseous
Low pressure
Scintillators
Photodetectors
Microelectronics
Gaseous detectors
Photodetectors
Microelectronics
Semiconductors
Gaseous detectors
Digitization
Semiconductors
Low noise FE
Digitization
Photodetectors
Gazeous detectors
ATLAS,CMS,ALICE
HL-LHC upgrades
ILC
COMPASS
CLAS12
Spiral(2)
…
T2K
Double Chooz
ANTARES
…
SuperB
Fazia
…
AGATA
S3
…
CLAS12
Demin
Sedine
NFS
Applications
Experiments/R&D
Fields of research
Challenges

## Slide 19: Detectors studied by the labs of P2IO (2)
Low noise
Space environment
Miniaturisation
Low power
Large number of channels
Single photon sensitivity
High efficiency
Precise timing
Digital treatment
Low background
Low noise
Ultra low temperature
Material purity
Applications
Semiconductors
Microelectronics
Scintillators
Bolometers
Gaseous detectors
Photodetectors
Low noise electronics
Photodetectors
Ultrafast digitizers
Antennas
Experiments/R&D
MACSI
Solar orbiter
Compton camera
Edelweiss(-II/III)
SuperNemo
Cast
…
Auger
H.E.S.S.(2)
Codalema
Spaceborn
spectro-
imagers
Dark matter
search
Cosmic Rays
Biomedical
Spatial resolution(mm)
Detection efficiency
B field (IRM PET)
Miniaturization
Ergonomics
Scintillators
Photodetectors
Semiconductors
Microelectronics
ART
CALIPSO
SIPMED
PIXSIC
MONITEP
Fields of research
Challenges

## Slide 20: Supports of P2IO for detection systems
CaptInnov test platform (182 k€):
Advanced probe station + bonding machine,
Usable for large area devices,
Usable for detectors & (micro-)electronics,
« Seed » funding of P2IO complemented by application to Univ. Paris-Sud and IdF region
Other supports:
Workshops (PhotoDet 2012, …) and schools (Rencontres de physique de l’infiniment grand à l’infiniment petit 2011/2012, …)
Support for visitors (Pr Savvidis, …)
Platform operational supports (~10 k€): Cryogenic, Dalton, Calva
Project | Field | CSNSM | IAS | IMNC | IPNO | IRFU | LAL | LLR
New generation of cryogenic detectors | bolometers |  |  |  |  |  |  | 
HARPO | Space techno, gaseous detector |  |  |  |  |  |  | 
SAMPIC | Fast timing electronics, Photodetectors |  |  |  |  |  |  | 
CALIPSO ionisation | biomedical |  |  |  |  |  |  | 
COMPTON telescope | Space technologies, semicon, scintillators. |  |  |  |  |  |  | 
No postdoc funded
Support for collaborative R&D on detectors: 300 k€ funded in 2011 (for 3 years)

## Slide 21: Prospects and conclusions
Starting point to improve synergy between detector teams of P2IO labs
P2IO supports are precious for risky and innovative R&D of detector systems
Initial stage of R&D before asking funding to agencies (Cnes, ESA, ANR, …).
These platform and R&D projects can be a starting point for partnership with industries
Platform are also planned to be used for teaching purposes
Each year:
Yearly status reports for each R&D project
Longer term:
CaptInnov platform: operational next year (mi-2013)