## Slide 1: Nanometer stabilisation at ATF2 within FJPPL and FKPPL
A.Jeremie
For FJPPL A-RD-10: Nanometer stabilisation at ATF2
For FKPPL A-RD-: ATF2
Joint France-Japan-Korea Project!

## Slide 2: Outline
Participants
KEK*: host, organisation, installation, ATF2
KNU*: IP-BPMs and associated electronics
LAL*: IP-chamber, in-vacuum diamond sensor
LAPP*: GM sensors, QF1 relative displacement
Application for 2014
*principal contributor although collaborative work

## Slide 3: Participants

## Slide 4
FJPPL

## Slide 5
FKPPL

## Slide 6: ATF2

## Slide 9: IP-BPMs, associated electronics IP-BPM chamber

## Slide 12: Tested Double block IP-BPM
Made by Aluminum (2kg for double block)

## Slide 14: Electronics for Y-ports
Y-port Electronics
I-Q signal with 90o difference
I-Q tuning by phase shifter
20ns decay time for feedback System.
Design Frequency
LO: 6426 MHz
RF: 6426 MHz
Some upgrade was necessary:
12 mixer parts were replaced
The resistors were back to original values.
The total conversion gain of electronics was set to 54dB.
The IF offset voltage was set to 0mV (±700uV).
After repair, the electronics was tested and commissioning ongoing at ATF2.

## Slide 15: Methodology for stabilization
Goal 1 (beam size  37 nm) beam jitter < 10 nm
Goal 2 (nm-scale stability with feedback) beam jitter  2 nm
Measure stability at one of IP-BPMs after shifting the beam waists there
Infer position from measurements at the two other IP-BPMs
Use fast kicker just upstream to correct second bunch within ATF2 train
in all cases  must first calibrate scale factors and study system resolution

1
2
3
IP
beam kicker

## Slide 16: Required precision on relative IP-BPM scale factors depends on beam parameters
 ~ 1 m (e.g. diagnostic section)

1
2
3
IP
d
IP = (y2 – y1) / d
yIP = 2 y2 – y1
 = calibration error of 1 relative to 2
 2 y2 – y1  yIP + 2   d
Residual  2 ( / )0.5 d (jitter / )   10-7     10-2 for 1 nm error
d  0.1 m
y  12 pm
jitter /   10%
 ~ 10-4 m (interaction point : nominal optics)
Residual  2 ( / )0.5 d (jitter / )   10-5     10-4 / -3 for 1 / 10 nm error
Determination of resolution
Feedback to IP or to 3rd IP-BPM

## Slide 17: New IP-BPMs and IP-chamber
A precise mover system (piezo movers PI and Cedrat) has been designed
 precise remote internal mechanical alignment of IP-BPMs with respect to beam line components and IP-BSM
 mechanical calibrations of IP-BPM scale factors with required precision (instead of moving the beam as before); their calibration, reproducibility and linearity below 10-4
Piezo movers (PI) showed linearity at least to 10-4 as needed
Piezo-mover performance was checked at LAL before installation at ATF2 IP using a Sios interferometer, with a weight representing IP-BPM block 1&2 and identical cabling
Each block can be moved independantly
- Closed-loop stability
- Open-loop stability
- Setting accuracy
- Calibration
- Thermal effects
- Vibration mitigation

## Slide 21
S.Wallon from LAL will visit KNU this week to discuss BPM fabrication and make sure pertinent alignment references are included

## Slide 22: Diamond sensor

## Slide 23: Introduction
Diamond Sensor
Shintake Monitor
Compton
ATF2
Motivations:
Beam halo transverse distribution unknown → investigate halo model & propagation
Monitor beam halo to control backgrounds by means of collimation and tuning
Probe Compton recoil electron→ (possibly, in future, higher order contributions)

## Slide 24: Diamond Detector Features
Property Diamond Silicon |  | 
Density (g m-3) Band gap (eV) Resistivity (Ω cm) Breakdown voltage (V cm -1) Electron mobility (cm2 V-1 s-1) Hole mobility (cm2 V-1 s-1) Saturation velocity (μm ns-1) Dielectric constant Neutron transmutation cross-section(mb) Energy per e-h pair (eV) Atomic number Av.min.ionizing signal per 100 μm (e) | 3.5 5.5 >1012 107 1700 2100 141 (e-) 96 (hole) 5.6 3.2 13 6 3600 | 2.32 1.1 105 103 1500 500 100 11.7 80 3.6 14 8000
In-vacuum single crystal CVD diamond sensor profile scanner -> for PHIL and ATF2 diagnostic (“plug compatible” design)
Test of fast remote readout (fast heliax coax cable + high BW scope) with particles at end of beam line, using existing single crystal 4.5x4.5mm CVD diamond pad sensor
Diamond detector test at PHIL
• Large band-gap⇒ low leakage current
• High breakdown field
• High mobility⇒ fast charge collection
• Large thermal conductivity
• High binding energy⇒ Radiation hardness
Fast pulse ⇒ several ns
ADVANTAGES

## Slide 25: PHIL @ LAL
Same "plug compatible" design for PHIL and ATF2: fabrication will be completed in April 2014 before testing in May-June at PHIL.
Diamond Detector
ATF2 @ KEK

## Slide 26
In-vacuum diamond halo sensor
Several tests of diamond detector done in air at PHIL
S/N ratio of these measurements needs to be studied
Two sets (diamond sensor + mechanics) is ordered for application in vacuum → one for PHIL, another for ATF2. Plan test at PHIL June 2014 and install at ATF2 in September
Proposal for horizontal & vertical moveable halo collimators being prepared with IFIC group
Simulation (BDSIM, CMAD) and analytical work for halo modeling

## Slide 27: GM sensors

## Slide 28
14 GM sensors have been installed in EXT and FD
-Measurements are available
-BPM and ground motion data have been taken in parallel.
-Setup works very well.

## Slide 29: System has also been used for Relative Displacement studies at FD
Presented by Okugi-san (Sept 27, 2013)
QD0FF
QF1FF
QF1 replaced
=> Vibration mitigation under study

## Slide 31
Expected
Identified spot in ATF2 where GM signal higher, thus better suited for correlation studies

## Slide 32
Made possible thanks to work with KEK on improved synchronisation signal

## Slide 33
Plans:
new instrumentation will help determine a better “machine” model
Identify higher vibration source
  Move sensor from girder to top of quadrupole
  Turn off cooling water

## Slide 34: Joint France-Japan-Korea project!
FJPPL-FKPPL ATF2 Workshop in Annecy March 2014
Common integration work at KEK

## Slide 35: 2013 Report
KEK/ATF2: Routine vertical beam size at low intensity of 55nm
KNU: IP-BPMs and associated electronics tested, updated and currently under evaluation
LAL: IP-chamber installed at ATF2 IP, piezo movers operational; diamond sensor development and testing
LAPP: GM sensors installed, first results under study; QF1 relative displacement measured
Publications

## Slide 36: Application

## Slide 37: Plans for 2014
KEK/ATF2: Concentrate on ATF2 Goal 2 for Nanometer beam stabilisation
KNU: New BPM fabrication, electronics evaluation
LAL: improve IP-BPM alignment strategy; in-vacuum diamond sensor testing at ATF2
LAPP: Identify vibration sources and enhance correlation capabilities; QF1 vibration mitigation study

## Slide 38: FJPPL application for 2014

## Slide 39: FKPPL application for 2014
Requested LIA specific funding from France |  |  |  |  | 
Description |  | Euro/unit | Nb of units | Total (euros) | Requested to: *
Travel to Daegu (KNU) |  | 1000 | 2 | 2000 | IN2P3
Local expenses in Daegu (5 days) |  | 750 | 2 | 1500 | IN2P3
Total |  |  |  | 3500 | IN2P3
Requested funding from Korea |  |  |  |  | 
Description | Won/Unit |  | Nb of units | Total (kWon) | Requested to: **
Travel to LAL for meeting | 1000 |  | 1 | 1000 | KNU
Local expenses in LAL (5days) | 750 |  | 1 | 750 | KNU
Total |  |  |  | 1750 | 

## Slide 40: backup

## Slide 41
“Routinely” produce 65 nm beams at ATF2!
Modulation of photon rate by Compton diffusion on interference fringes
Focused beam
Less focused
M 〜 0.306 ± 0.043 (RMS)
correspond to σy 〜 65 nm
Shintake Monitor: essential for beam tuning

## Slide 43
ATF2 Proposal vol 1
ATF2 – Strategy of stabilization
Ground
Shintake monitor
Interference
fringes
Last focusing magnets
Beam
Previous magnets
4m
Efficient coherence of ground motion: measured on site
Very rigid and independent supports
For QD0 at ATF2: 7 nm tolerance
For QF1 at ATF2: 20 nm tolerance
Measurements by B.Bolzon in 2008: better than tolerances
QD0 to IP relative displacement of 4.8 nm and QF1 of 6.3 nm
QF1